Instructions for the physician

Equipment:

The linked equipment below are just examples. They can be replaced with other brands

However, the Avery Print/Write Self-Adhesive Removable Labels, 0.75 Inch Diameter, Red is required and cannot be replaced unless the desktop algorithm is manually changed to detect a different color and size.

- Tripod https://www.amazon.com/AmazonBasics-60-Inch-Lightweight-Tripod-Bag/dp/B005KP473Q/ref=sr_1_3?dchild=1&keywords=tripod&qid=1588460003&sr=8-3

- Smartphone Tripod Adapter https://www.amazon.com/Vastar-Universal-Smartphone-Horizontal-Adjustable/dp/B01L3B5PBI/ref=sr_1_3?crid=328K86Z3ZNKLY&dchild=1&keywords=iphone+tripod+adapter&qid=1588460076&sprefix=iphone+tri%2Caps%2C191&sr=8-3

- Avery Print/Write Self-Adhesive Removable Labels, 0.75 Inch Diameter, Red

https://www.amazon.com/Avery-Self-Adhesive-Removable-Labels-Diameter/dp/B00007LPAG/ref=sr_1_5?dchild=1&keywords=avery+label+red&qid=1588460035&sr=8-5

- (Optional, needed if the room is not well-lit) Lighting equipment https://www.amazon.com/TaoTronics-Portable-Desk-Lamp-Dimmable/dp/B07S1P3HZC/ref=sr_1_10?dchild=1&keywords=led+lamp&qid=1588460159&sr=8-10

Instructions:

- Download all the files for the desktop app in the Desktop App folder from https://github.com/tammi-p/JVP and put the files under a folder that will be specifically used for amplifying videos

- Click on VenousAmplify.mlapp to open the desktop app

- After a few seconds Matlab and UI Figure will pop up

- Click on Get File in UI Figure and select the video you want to amplify

- After selecting the video, click Amplify Video

- The status will change to Processing (The Command Window will show the processing percentage)

- Wait until the status changes to Finsihed

- The amplified video with the reference distances will be outputted into the FinalVideos folder

- In the AmplifiedVideos folder, there will be the same amplified video, but without the reference distances

Misc. Info:

- The iOS app does not need to be used if you want to record a video manually

- Recommended settings for recording manually

  - 1080p 30 fps Processing time for the desktop app will be around 8 min

  - 1080p 60 fps Processing time for the desktop app will be around 15 min

  - 720p 30 or 60 fps This will still work, but the quality will decrease compared to the above

  - Can record vertically or horizontally, but vertical is recommended